CAÑON CITY AREA FIRE PROTECTION DISTRICT

1475 North 15th Street

Cañon City CO 81212

719-275-8666/FAX 719-275-1486

Underground Piping Permit Application

Date:

Project:

Address of project:

Contractor: 							E-Mail:				Phone:

Address:

Contact person:						E-Mail:				Phone:

FAX Number

- The underground supply line installed between the public water main and the fire protection system riser must be installed in accordance with NFPA 24, or NFPA 13 Chapter 10

- All underground supply lines shall be installed by underground contractors registered with the State

- Piping must be inspected before covered

- Appropriate flush test must be witnessed by CCAFPD

- Hydrostatic test must be witnessed by CCAFPD

- A copy of the "Contractor's Material and Test Certificate for Underground Piping" must be completed and provided to the fire sprinkler contractor, CCAFPD, and to the owner prior to connecting to the fire sprinkler riser

Signature:											Date:

Name Printed:

Fee Submitted:						(See fee schedule)		Date:

Inspections will not be made until fee(s) submitted

Office use only

Approved    Accepted by:										Date: